## Slide 1: Medical equipment including electronics, CE marking and standards
Introduction to

## Slide 2: Lorem ipsum
Lorem ipsum
Lorem ipsum
Lorem ipsum
Introduction to CE-marking
Introduction to MDR / IVDR
What is a standard and how do you use standards?
Safety requirements
Recap and questions
Notes: Pernille overordnet introduktion
Vi præsenterer os hver især

## Slide 3: Danish Standards – playing an important role in the Danish business sector
Denmark’s official standardisation organisation
Founded in 1926
Commercial foundation
150 employees in Copenhagen/Jylland
Corporate partnership with the Danish Ministry of Business
Notes: Pernille - præsentation af Dansk Standard
As Denmark's official standardisation organisation, we are the ones who facilitate the development of standards and ensure that Denmark and Danish companies have a say in international and European standards. It is our role to bring together different stakeholders from e.g. industry, workers' and trade associations, authorities, consumer organisations and research to build consensus on future standards. This takes place in our 240 committees, where the participants provide knowledge, we provide professional sparring, facilitate meetings, update documents and ensure consensus about the best content in the standard. We are a commercial fund and our profits are invested in the development of new activities, primarily in the standardisation work. Dansk Standard has entered into a partnership with the Ministry of Business with a focus on creating increased growth and competition for business.

## Slide 4
Introduction to CE marking
Notes: Torben

## Slide 5: CE marking
* EU and Norway, Iceland, Lichtenstein and Switzerland
What is it?
CE marking is a certification mark that indicates conformity with health, safety, and environmental protection standards for products sold within the European Economic Area (EEA*).
The CE marking is also found on products sold outside the EEA that are manufactured in, or designed to be sold in, the EEA.
This makes the CE marking recognizable worldwide even to people who are not familiar with the European Economic Area
Conformité Européene
(European Conformity)

## Slide 6: The benefits of the Single Market for Goods
EU business benefit from:
a 'home market' of over 500 million consumers for their products
easier access to a wide range of suppliers and consumers
lower unit costs
greater commercial opportunities.
EU citizens benefit from:
lower prices
more innovation and faster technological development
higher standards of safety and environmental protection.

## Slide 7: – Access to the internal market
There are different modules for conformity assessment – from an Internal production control to a conformity assessment by an notified body
Product legislation describes the conformity assessment procedures for each product.
CE-marking is mandatory
For products covered by more than one directive the CE-mark indicates that the product is forfilling the essential requirements for all directives
National authorithies carry out the market surveillance
Rammedirektiv
Mandat
Standarder
Godkendelse
Formodning om overensstemmelse

## Slide 8: New Approach – from directive to product on the market
Framework directive
Request (mandate)
Standards
Citation in OJEU
Presumption of conformity

## Slide 9: Presumption of conformity on the basis of harmonised standards
For products covered by more than one directive the CE-mark indicates that the product is forfilling the essential requirements for all directives
Notes: The use of Harmonized European standards, or parts thereof, gives you presumption of conformity with the essential requirements of the relevant directive.
The harmonized standards, that gives you presumption of conformity, is listed in the Official Journal of the European Union and the safety objectives is set out in Annex I
Also notice article 3 which says:
Electrical equipment may be made available on the Union market only if, having been constructed in accordance with good engineering practice in safety matters in force in the Union, it does not endanger the health and safety of persons and domestic animals, or property, when properly installed and maintained and used in applications for which it was made.
This mean good craftsmanship and no “shortcuts” by the electrician and electrical contractor
Alternative you shall illustrate and demonstrate that what you have done is equal or better.
Remember that you can derogate from a standard, in hole or parts thereof
The alternative if often difficult and takes a lot of time.

## Slide 10: The 4 cornerstones of the internal market
Essential requirements
Conformity assessment
Marking
Market surveilience
Notes: Essential Requirements are given in annex I to the directives. They state the desired outcome without specifying how it should be achieved, and not giving any technical details.
Legislative harmonisation is limited to essential safety requirements.
Only products fulfilling the essential requirements may be placed on the market and put into service.
In the Low voltage directive the essential requirement is 1 page
Conformity assessment - the conformity assessment procedure is carried out before the product can be placed on the EU market. A manufacturer can only place a product on the EU market when it meets all applicable requirements. It is the manufacturer who is responsible for the conformity assessment
CE marking - CE marking signifies that products sold in the EU have been assessed to meet all the applicable high safety, health, and environmental protection requirements. The manufacturer puts the CE marking on the product.
Market surveillance - market surveillance checks that non-food products on the EU market do not endanger European consumers and workers, or the protection of other public interests such as environment, security, and fairness in trade. Market surveillance is done by national authorities and they corporate with the other member countries

## Slide 11: Essentiel requirements
They are always found in annex I of the directives/regulations
EMC directive = ½ page
LVD directive = 1 page
Machinery = Risk assessment + 30 pages
Medico regulation MDR/IVDR = 68+ 59 essential requirements

## Slide 12: Conformity assessment- The modular metod
Notified body
Testing/modules
A B C D E F G H
Either a notified body or accredited
internal body (choice of the manufacturer)
Internal production control
Risk

## Slide 13: The 8 different modules
Modul A - Internal production control
Modul B - EU-type examination
Modul C - EU-type examination followed by Conformity to EU-type based on internal production control
Modul D - EU-type examination followed by Conformity to EU-type based on quality assurance of the production process
Modul E - EU-type examination followed by Conformity to EU-type based on product quality assurance
Modul F - EU-type examination followed by Conformity to EU-type based on product verification
Modul G - Conformity based on unit verification
Modul H - Conformity based on full quality assurance

## Slide 14: Declaration of conformity
1. No. xxxxxx (unambiguous identification of the product): 2. Name and address of the manufacturer or his authorized representative: 3. This Declaration of Conformity is issued under the responsibility of the manufacturer (or installer): 4. Subject of the declaration (identification of the product for traceability. Photo may be attached): 5. The subject of the declaration, as described above, is in accordance with the relevant Community harmonization legislation: ........ 6. References to the relevant harmonized standards used or references to the specifications declared to be in conformity with: 7. Where appropriate, the notified body ... (name, number) ... who made ... (description of the activity) ... And issued the certificate: ……… 8. Additional information: Signed for and on behalf of: ........................................... .......... (place and date) / (name, position) (signature)
DS/EN ISO/IEC 17050-1 gives guidance on the declaration of conformity

## Slide 15: Important
1. No. xxxxxx (unambiguous identification of the product):
Produkt, type, batch or seriel number
2. Name and address of the manufacturer or his authorized representative:
Shall be updated
5. The subject of the declaration, as described above, is in accordance with the relevant Community harmonization legislation: ........
Shall be updated
6. References to the relevant harmonized standards used or references to the specifications declared to be in conformity with:
By referencing to harmonized standards remember the year in the designation

## Slide 16: Marking
CE-marking and other markings
Identification by type, batch and seriel number
Name and address of the manufacturer

## Slide 17: Product group’s that need CE marking

## Slide 18: Typical faults
Lacks in the documentation
Missing's in technical file
Insufficient labeling
Declaration of Conformity Errors
Failures in Subcontractor subcomponents (CE marked)

## Slide 19: Checklist CE-marking
Define the directives that apply to the product.
Remember any additional national rules - for example, rules related to the product's use, the environment or the marketing.
Define the essential requirements related to the product.
Find the European harmonized standards, ENs that target the product - if no ENs, then use a draft EN (PrEn) or international or national standards.
Establish the relevant / appropriate conformity certification procedure.
Prepare the necessary technical documentation.
Make a good instruction manual.
Fill out Declaration of Conformity.
Make the CE marking.

## Slide 20: Find information here: https://www.ds.dk/en/about-standardsce-marking/

## Slide 21: Find information here: CE marking | Internal Market, Industry, Entrepreneurship and SMEs (europa.eu)

## Slide 22: Questions

## Slide 23: Medical devices and EU regulation
Notes: Pernille

## Slide 24: Medical Device definition (MDR 2017/745)
‘Medical device’ means any instrument, apparatus, appliance, software, implant, reagent, material or other article intended by the manufacturer to be used, alone or in combination, for human beings for one or more of the following specific medical purposes:
diagnosis, prevention, monitoring, prediction, prognosis, treatment or alleviation of disease,
diagnosis, monitoring, treatment, alleviation of, or compensation for, an injury or disability
investigation, replacement or modification of the anatomy or of a physiological or pathological process or state,
providing information by means of in vitro examination of specimens derived from the human body, including organ, blood and tissue donations
and which does not achieve its principal intended action by pharmacological, immunological or metabolic means, in or on the human body, but which may be assisted in its function by such means.
Notes: What is a medical device? This is not an easy one – because it covers a huge area of devices!!
The official definition in the MDR states that ……..
In order for the definition to make sense, let’s break it up:
= Product for human use which as a medical purpose!
= That act on diseases, injuries, disabilities, anatomy, physiological or pathological state or provide information through invitro examination!
= Should not be a drug!
There are more than 500,000 different types of medical devices, which can range from wheelchairs and glasses to pacemakers, apps on mobile phones and advanced operating equipment.

## Slide 25: In vitro diagnostic medical device (IVDR)
…any medical device which is a reagent, reagent product, calibrator, control material, kit, instrument, apparatus, piece of equipment, software or system, whether used alone or in combination, intended by the manufacturer to be used in vitro for the examination of specimens, including blood and tissue donations, derived from the human body, solely or principally for the purpose of providing information on one or more of the following:
(a) concerning a physiological or pathological process or state;
(b) concerning congenital physical or mental impairments;
(c) concerning the predisposition to a medical condition or a disease;
(d) to determine the safety and compatibility with potential recipients;
(e) to predict treatment response or reactions;
(f) to define or monitoring therapeutic measures.
Specimen receptacles shall also be deemed to be in vitro diagnostic medical devices;

## Slide 26: Which of these is not a medical device?
Notes: Medical drugs are NOT a medical device – they are drugs and therefore not a medical device according to the definition in the MDR

## Slide 27: EU Regulation of MDR and IVDR
The EU MDR is the European Union Medical Device Regulation 2017/745 that were released in 2017 by the European Parliament and the Council of the European Union.
IVDR equipment is governed by a separate EU regulation 2017/746.
The intent of the EU MDR / IVDR regulations is to ensure a high standard of safety and quality for medical devices produced in, or supplied to, member EU countries.
The MDR / IVDR is intended to be a regulatory framework for medical devices that can sustainably ensure health and safety while still encouraging innovation.
Notes: The EU MDR is the European Union Medical Device Regulation 2017/745 that were released in 2017 by the European Parliament and the Council of the European Union. The intent of the EU MDR regulations is to ensure a high standard of safety and quality for medical devices that are produced in, or supplied to, member countries of the European Union.
This regulatory framework is intended to better identify medical devices, as well as standardizing data and technological advances through an EU database (Eudamed). The regulation EU MDR is intended to be a regulatory framework for medical devices that can sustainably ensure health & safety while still encouraging innovation.
The EU MDR regulations do not incorporate In Vitro Diagnostic Regulation (IVDR); this IVDR equipment is governed by a separate EU regulation 2017/746. However, Article 1 (point 7) of the MDR regulation clarifies the relationship between the IVDR regulation and the EU MDR regulation: if a device has both IVDR components and other medical device components, then the IVDR parts of any device are governed by the 2017/746 regulation, but the remainder of the device is covered by the MDR EU regulation.

## Slide 28
Device classification
Classification is based on risk, as set out in Annex VIII of the MDR and Annex VII of the IVDR.
Medical devices (MDR) are grouped into five classes known as I, Is/Im, IIa, IIb and III, with Class I being the lowest risk and Class III being the highest risk.
Class I medical device could be a walker, whereas breast implants are class III medical devices.
In vitro diagnostic medical devices are grouped into five classes know as A, As, B, C, D
Class D fx Hepatitis B blood-donor screening
Notes: When talking about medical devices there are different classes of medical devices. To be more precise, there are 4 main categories from the products with lowest risk to the product with highest risk:
The classification is set out in Annex VIII of the MDR and Annex VII of the IVDR.
Class I (class 1)
Class IIa (class 2a)
Class IIb (class 2b)
Class III (class 3)
Additionally, there are 3 more categories that are part of class I:
Class Is: Products that are part of class I which are sterile
Class Im: Products that are part of class I which have a measuring function
Class Ir: This one is new. It’s for reusable surgical instruments
Example of Class I (Low Risk): Non-sterile devices, or devices without a measurement function. These devices can be self-certified. For example: reusable surgical equipment (e.g., scalpel), stethoscopes, wheelchairs.
Example of Class III (High Risk): Implantable medical devices intended for long-term use. For example: pacemakers, breast implants, spinal disc implants, drug-coated stents.

## Slide 29: Conformity assessment
Manufacturers need to demonstrate that the medical device meets the requirements in the MDR or IVDR by carrying out a conformity assessment.
The assessment route depends on the classification of the device.
Class A IVD – specimen receptacles (e.g. Urine cups, sample tubes) = self assessment
Class D IVD involves thirdparty conformity assessment!
Manufacturers can place a CE mark on the product to certify that the medical device has met the requirements when it has passed the conformity assessment.
Notes: What is MDR certification?
MDR certification of a medical device verifies that the device meets all of the regulatory requirements for European Union medical devices; the certification is indicated by a CE Mark.
In order for medical devices to be certified, the company must implement a Quality Management System (QMS). Many companies use ISO 13485 as a way to implement this QMS, as this is the only QMS standard on the EU harmonized lists, and therefore it is the best way to implement the QMS as it relates to the MDR EU regulation.

## Slide 30: Notified bodies
Function:
Requirement
Control
Responsibility
Competence
Management systems
Handling of subcontractors
...
Notified bodies are independent certification bodies designated by national Competent Authority.
They perform thirdparty conformity assessment activities including calibration, testing, certification and inspection.
Presafe Denmark A/S is appointed by the Ministry of Health, Denmark as Notified Body no. 0543 and is also a member of the European Association of Notified Bodies for Medical Devices.
NB
Notes: Which classes of products require conformity assessment by a notified body?
Approval is required for Class IIa, IIb and III medical devices and Class B, C and D in vitro diagnostic devices.
Some Class I and Class A devices will require notified body approval for parts of the manufacturing process that relates to sterility or metrology, if the medical device includes sterile products or a measuring function.
Manufacturers can certify their products with any notified body approved for MDR / IVDR within the EU.

## Slide 31: Questions

## Slide 32: What is a standard – and why are they important?
A standard is a documents that:
provides requirements
specifications
guidelines
characteristics
that can be used consistently to ensure that materials, products, processes and services are fit for their purpose
Common “language” that makes sure we understand things the same way
Notes: Pernille
Before we move on we need to talk briefly about what a standard is!
European standards play a key role in the CE marking. This applies in particular to the so-called harmonised standards, which, in short, are standards for how a directive/regulation can be complied with as a producer. If you follow a harmonised standard, you have the right to assume that you are also meeting the essential requirements of the legislation. It's also called presumption. In other words, the standards become an aid for the manufacturer to prove that he meets the requirements of the legislation.

## Slide 33: Standards make the world operate more smoothly
Notes: (standards in everyday life) Standards not only have an impact on business, but also play an important role for all of us in everyday life. Standards have become such a natural part of our everyday lives that we often do not give them a thought - although many of them are of great importance to us. Just imagine if the light bulb didn't fit the lamp, if the screw didn't fit the nut, if the USB connector only fit into some PCs, or if no one agreed on fundamental management and quality principles. That would not be very effective. Standards are used everywhere - locally and globally. There are standards for everything from the swing in the playground to the windmill.

## Slide 34: Are you obligated to use the standards?
Standards are voluntary – except
  When a Directive or Regulation demands the use of specific standards
  When you advertise that your product or service live up to the demands in a standard
  When a contract or labelling system state that the product or service must fulfil the standard
Notes: Pernille
For most products, the standards are an offer to the manufacturer and their use is voluntary. However, in the case of construction products, for example, standards must be applied, i.e. the application of harmonised standards is mandatory. Do you have to comply with standards? In some cases, yes! Directives are legislation and must, of course, be followed. Standards are recommendations and it is generally voluntary to use them. However, there are a few exceptions where you have to follow a standard: Where laws or directives require certain standards to be followed When a company advertises that a product or service meets the requirements of a given standard Where a contract or labelling scheme states that a product or service must meet one or more standards. If you do not use the harmonised standards, you must document your solution yourself. If, on the other hand, you use the standards that have been made for a particular directive, you can refer only to the standards in your documentation.

## Slide 35: Different types of standards
Safety – ranked – horizontal, generic, product
EMC – Electromagnetic compabillity
Descriptive – description of a product – eg. Office chair
Performance - energy / lifetime
Management standards – quality, risk
Interoperability – communication interface
Methods – laboratory analysis etc.
Construction – Safety, dataformats
Symbols – pictograms – machine buttons
Terminology – Electropedia, common language
Notes: Pernille
Standards can describe requirements for:
  Construction – e.g. paper formats, thread, data formats
  Performance – e.g. breaking strength, energy performance, safety, ergonomics, noise
  Methods – e.g. test schemes, chemical analysis, documentation of performance
  Management systems – e.g. quality, risk, energy or environmental management
  Symbols – e.g. pictograms, symbols for machines, classification systems
  Terminology – definitions of main terms within different fields
Standards allow us to speak the same language

## Slide 36: The annex ZA of a harmonised standard
Specifies the requirements for the different types of products
The annex ZA describes the relation between requirements in the legislation and in the standard
Framework Directive/Regulation
Request (mandate)
Standards
Citation
Presumption of conformity
Notes: Evt. Torben

## Slide 37: Citation of Harmonised standards
European standards are scrutinized in relation to the essential requirements in the relevant legislation and the mandate
The EC takes a formal decision
A reference is made to a standard in The Official Journal of the EU (OJEU)
The company has presumption of conformity with the regulation when proceding according to the harmonised standard
Framework Directive/Regulation
Request (mandate)
Standards
Citation
Presumption of conformity
Notes: Torben

## Slide 38
Notes: Torben

## Slide 39: Relevant standards - medtech
ISO 14971 Application of a risk management system for medical devices
ISO 13485 Quality management systems - Requirements for regulatory purposes
ISO 10993‐1 Biological evaluation of medical devices - Part 1: Evaluation and testing within a risk management process
IEC 62366 Application of methods to ensure the usability of medical devices
IEC 60601‐1 Medical electrical equipment
IEC 62304 Life cycle processes for software
EN 1041 Information provided by the manufacturer of a medical device
EN 15223-1 Medical Devices - Symbols to be used with medical device labels, labelling and information to be provided, Part 1: General requirements
EN 14155 Clinical evaluation of medical devices
IEC 80001‐1 Application of risk management for IT-networks incorporating medical devices- part 1: roles, responsibility and activities
IEC/TR 80002‐1 Medical device software – Part 1: Guidance on the application of ISO 14971 to medical device software

## Slide 40: Questions

## Slide 41: Safety requirements
Dette billede efter Ukendt forfatter er licenseret under CC BY

## Slide 42: Example – face mask
There is a lot of confusion in Europe about masks.
There are different types of masks and it is important to understand the function of the different types and what the user can expect from these masks. In the EU we also have different legal requirements depending on the function of the mask.

## Slide 43: A brief overview is given in the table below,

## Slide 44: Steal and lend as much as possible (Invent as little as possible)
Search for related standards and find knowledge there
Use standards in relation to sup components
Use relevant test methods
Find and use standards that are generic and applicable to a wide range of products
Dont get to creative and use your common sense!

## Slide 45: Hints and remarks
And ”of the shelf” robot is a CE-marking object, but….

## Slide 46: You need to carefully make a risk assesment (And CE mark your own product)

## Slide 47: Protection against electrick shock
Principals on protection against electrical shock are standardadized
Some of these standards are horizontal, but…
(And it is the same for electromagnetic interference/compabillity)

## Slide 48: For medical devices things are sometimes different
And it is the same for electromagnetic interference/compabillity

## Slide 49
Warnings and other user information
Technical measures
Design
NEVER use pure information to achieve an acceptable level of risk

## Slide 50: Questions

## Slide 51: Summary and recap
Medical devices and invitro medical devices are thoroughly regulated through EU regulations
Conformity assessment depends on the risk assessment of the medical device
Products under the MDR and IVDR shall be CE marked
Standards have to listed in the OJ (Official Journal of the EU) in order to provide presumption of conformity
Administrative requirements are typical sources of non-compliance fx wrong labeling, missing translated instructions, undated reference to a standard in the declaration of conformity
Important to have the right classification of the product – especially for innovative/new product groups
Notified bodies have to be approved for MDR/IVDR certification